## Comm Application
PURPOSE
The purpose of the ‘Telecomm Design Review Application for Connection to Communications Systems’ document is to
formalize the procedure for use of communications infrastructure, assess the impacts of additional services on the system,
identify the point of connection, reserve the point of connection for the approved services, establish and maintain
configuration control of the system and plan for the long-term system development to meet the needs of Sea-Tac
International Airport. By providing the information requested F&I and/or ICT can work with the project teams
to achieve the most effective point of connection for the proposed service. No connections to or use of communications
infrastructure will be allowed without an approved application form.
WHO’S TO FILE
The Port of Seattle Project Manager responsible for the project and proposed connection is responsible for obtaining the
required information and the timely filing with Facilities and Infrastructure at the Sea-Tac International Airport.
WHEN TO FILE
The initial ‘APPLICATION FOR CONNECTION’ form should be filed during project scoping and budgeting, but no later than
at the 90% design package stage. At the 30% and 90% review stages the project should be presented to the Telecomm
Design Review. Visit the link below to schedule a meeting with Telecomm
https://portseattle.sharepoint.com/sites/avficommittee/SitePages/Home.aspx
WHAT TO FILE
The ‘APPLICATION FOR CONNECTION’ must be filled out in detail. Please provide complete details for project accounting
purposes as well as a detailed description of the project scope and the proposed connections to the existing systems.
Documents to be provide with the ‘APPLICATION FOR CONNECTION’ should include the following:
□ | Communication 1-line Diagram
□ | Communications plan view drawings
□ | CMS labeling template for demarc. box (tenant spaces only)
□ | When answering □ Yes or □ No questions, make your answer bold
If you will also have a CCTV connection you will need to complete page 5 and submit the following:
□ | Schematic Block Diagram
□ | Camera Location Plan
□ | Conduit, Wire & Camera Schedule
□ | Proposed Product Submittals
It is understood and recognized that all of the information identified will not be available at the early stages of the project, but
by the later stages of the project the requested information is required.
Definitions:
* | SPACE A space for the purposes of this application may be a Work Area, Communications Room, Closet or Rack.
A communications circuit/cable will always terminate in a space.
* | PATHWAY A pathway is any method that provides for the routing of communications circuits. A pathway typically
consists of conduit and or cable tray.
* | CABLE A cable is the media used to transport the voice or data signal. A cable may consist of electrical or optical
conductors.
* | TERMINATION HARDWARE Termination hardware is the device(s) used to terminate the cable and provide
connectivity to other systems. Examples of termination hardware include: Wall Outlets/Jacks, Patch Panels,
*Note A typical cable run may pass through multiple spaces and a variety of pathways. All spaces and pathways a cable
passes through must be documented on this application form. The last page can be printed as many times as necessary to
document all segments of the installation.
USE CMS NOMENCLATURE when listing spaces, pathways, cable and termination hardware ID's. A complete list of
nomenclatures is available in the POS Communications standards, available for download at
https://wwwpub.portseattle.org/page/design-standards
WHERE TO FILE
Application submissionss and general questions about application process can be emailed to AVCommittees@portseattle.org.
For specific questions about your application contact AVCommittees@portseattle.org
Do you have a connection to the CCTV system? |  |  |  | Click here to select.. |  |  |  | If Yes, Coordiante with AVM
Date:____________ |  |  | STIA drawing #: |  |  |  | Project ID# :
Project Title:
% Design:
Project Description:
Anticipated 100% design date:
Airport Tenant Company:
|  | Tenant Contact name: |  |  | Phone: |  |  |  | Fax or email:
Tenant Contact Address:
Street Address City State Zip Code
Port Project Contact:
Location of Project:
POS Project Manager:
Design Architect name / company: |  |  |  |  | Phone: |  |  |  | Fax or email:
Communications Designer name / company: |  |  |  |  | Phone: |  |  |  | Fax or email:
Attend Telecomm Design Review on :
(To schedule a time to present to Telecomm Design Review, please email AVCommittees@portseattle.org)
Pre-START questionnaire:
1. |  | Will your project require cable television (CATV) service?
|  | Click here to select.. |  | (if Yes; how many sets)?
2. |  | Will your project require dial telephone service?
|  | Click here to select.. |  | (if Yes; how many lines)?
3. |  | Will your project require DSL or T1 circuits
|  | Click here to select.. |  | (if Yes; how many)?
4. |  | Will you require Network connections over the Port of Seattle Backbone fiber plant to link leased locations
|  | Click here to select.. |  | (if Yes; how many)?
5. |  | Will your project require wireless service? If so, you must fill out Reference A. below.
Click here to select..
| 5.1 | Also, provide the following:
|  | Wi-Fi channels: |  | (Note: channels 1, 6 & 11 are reserved and are currently used by the airport-wide
AT&T wireless network. Access points other than AT&T are not allowed to use these channels.)
MAC address: _______
Radio type (802.11a, b or g): ___________
References:
A. POS Radio Frequency (RF) Application
B. POS Radio Frequency Standards & Communications Standards, latest editions
POS Standards may be downloaded from: https://wwwpub.portseattle.org/page/design-standards
Physical Plant Information
Originating Space- |  | Contact Aaron Smith/Jason Blankers (POS-ICT) and attach information received on Source, Destination, Cable types, Termination ports, Label information, etc. No need to fill the following.
Source Location (Typically Port Communication Rm):
1. | Type of Space |  | Click here to select..
2. | Owner of Space |  | Click here to select.. |  |  | Describe if OTHER was selected:
3. | POS Space ID |  | Click here to select.. |  |  |  |  | <--- pick from drop-down list; see "POS room names" tab
4. | Room/Closet Identifier | Contact Aaron Smith/Jason Blankers (POS-ICT) and attach information received on Source, Destination, Cable types, Termination ports, Label information, etc. No need to fill the following.
5. | Rack/Cabinet Identifier
6. | Space Description
7. | Port of Seattle Door #
8. | Drawing #
Pathway:
1. | Type of Pathway |  | Click here to select.. |  | <----If Conduit or Inner-duct selected, indicate SIZE____"
2. | Owner of Pathway |  | Click here to select.. |  | <----If Tenant selected, describe pathway_________________________
3. | POS Pathway ID if noted on existing run(s):
4. | Pathway Fill:
Height
Width
Diameter
Allowable Fill
Actual Fill
Cables:
1. | Standard Port of Seattle Demarcation Package:
| □ Yes |  | □ No (update Amt below): |  |  | □ Other (Provide type and amount below):
12 strand SMF
6 Category 6
1 RG11 - Coax
Variance to PORT demarc. package contingent on START approval
Termination Hardware:
1. | Type of Termination Hardware |  |  | Click here to select..
2. | Owner of Termination Hardware |  |  | Click here to select.. |  | <----If Other selected, please describe: _________________
3. | POS Termination Hardware ID- |  |  | Fiber Patch Panel (FPP):
Copper Patch Panel (CPP):
Copper Patch Block (CPB):
Destination Space-
Destination Location (Typically Tenant Leased space):
1. | Type of Space |  | Click here to select..
2. | Owner of Space |  | Click here to select.. |  | <----If Tenant selected, indicate Room No.________
#3 & #4 below relate to location nearest the Tenant demarcation panel/ tenant communication room
3. | PORT Door # (Example: MT-1234-T):
4. | Nearest Column and Grid # | [5 empty] | Note: A tenant-owned space requires the tenant to
| (if no door number available): | [5 empty] | provide a POS standard communications Demarc Box
5. | Tenant Concession Space ID | [5 empty] | with cabling. A completed labeling template is
| (Example: CC-14): | [5 empty] | required to be included on the design drawings.
Coordinate with POS.
Refer to "Demarc Box Template" worksheet.
Termination Hardware:
1. | Type of Termination Hardware |  |  | Click here to select..
2. | Owner of Termination Hardware |  |  | Click here to select.. |  | <----If Other selected, please describe: _________________
Prepared by: | [6 empty] | Date:
No connections to the communications system will be allowed without Facilities & Infrastructure approval of this document.
Application is: |  | Approved |  | Rejected
Notes:
Aviation/Facilities & Infrastructure |  |  |  |  | Date

## p5 - CCTV Application
CCTV Application for Connection (appendix to Telecomm Application)
System (check one):
□ ACS CCTV (Acccess Control)
□ Baggage Monitoring CCTV
□ General CCTV
Scheduled Design Completion date:
Power Requirement:
Panel and Breaker:
Temporary Installation: | [7 empty] | Disconnect Date: |  |  |  |  | Duration:
Application Prepared by: | [13 empty] | Date:
Camera Information
(If more than one camera, please print additional pages of this sheet and provide information)
Camera ID:
Monitored at:
View:
Mount:
Manufacturer & Model No:
Connected SAC/TC Room:
| Recording: |  | Yes | [5 empty] | No | Recording Time:
| Connecting Switch: | [8 empty] | Position:
Physical Plant Information
Cable Originating Space (Camera):
Pathway
| a. | Pathway ID |  |  |  |  | New |  |  |  |  | Existing
| b. | Conduit
Tray
Cables
| a. | Cable ID |  |  |  |  | New |  |  |  |  | Existing
| b. | Power
Coax
STP
Termination Hardware
| a. | Term. Hardware ID |  |  |  |  | New |  |  |  | Existing |  |  |  |  | Termination Location
| b. | Video Transmitter
Camera Power Supply
Electrical Power Panel
Cables
| a. | Cable ID |  |  |  |  | New |  |  |  |  | Existing
b.
Termination Hardware
| a. | Term. Hardware ID |  |  |  |  | New |  |  |  | Existing |  |  |  |  | Termination Location
| b. | Video Receiver
CM-9760-MXB
CM-9760-DMR
Physical Plant Information
Cable Ending Space (Switch, Demux & Monitors):
Pathway
a. | Pathway ID | New |  | Existing
b. | Conduit
Tray
Cables | [5 empty] | No connections to the CCTV system will be allowed without Facilities & Infrastructure approval of this document.
a. | Cable ID | New |  | Existing
b.
[6 empty] | Application is: |  | □ Approved |  | □ Approved as noted (see below) |  |  |  |  | □ Revise and Resubmit
Termination Hardware
a. | Term. Hardware ID | New | Existing |  | Termination Location | Notes:
b.
Cables
a. | Cable ID | New |  | Existing
b.
Termination Hardware
a. | Term. Hardware ID | New | Existing |  | Termination Location
b.
CCTV Monitor
[6 empty] | Aviation/Facilities & Infrastructure |  |  |  |  | Date

## Demarc Box Template
MT-01 Typical Tenant |  |  |  | Project# |  |  |  |  | POS Drawing# | STIA-TO
Tenant Facility Code (fc) = | MT |  | (Example shown) | Yellow highlighted areas are entered by the designer.
POS Communications Room ID = | ER.CA04.00001 |  | (Example shown)
sp = | EQ |  | (Example shown - typically "EQ" or "WF")
Tenant level code zz =
Communications room Facility Code (fc) = | CA
Communications room level code = | 04
nnnn = | 5011 | Starting Sequence |  | (TEXT IN RED FONT IS ENTERED BY POS - EXAMPLE SHOWN).
Below Data MUST be on each Cable Jacket: 1st line - 2nd Line (when noted) - 3rd Line
|  |  | CABLE TYPE: |  |  |  |  | BACKBONE CABLE LABEL (Label both ends of cable.)
[5 empty] | 1ST LINE: |  | 2ND LINE: |  | 3RD LINE:
POS TENANT DEMARC. BOX | [8 empty] | (COMM. RM END) | (DEMARC END) | POS COMMUNICATIONS ROOM:
(EXAMPLES SHOWN):
DEMARC BOX LABEL: | POS COMMUNICATIONS DEMARC | [11 empty] | COMM. ROOM |  | ER.CA04.00001
EQ.MT.05011
WALL FIELD
RG6 MULTI-PORT TAP LABEL
WF.CA.2bcde
RG6 PATCH DEVICE LABEL: | I.CXP.MT.05011.40 |  | RG6/U** | CB.CX.MT.05011 |  |  | (BLANK) |  | ER.CA04.00001 | -EQ.MT.05011 | TAP#:
(as required) | [10 empty] | 1
**NOTE: The RG6 cable does not need to be provided for communications rooms outside of Concourse 'A' or CTE.
RACK #:
abcd3
RJ45 PATCH PANEL LABEL: | I.CPP.MT.05011.30 | [9 empty] | CAT 6 (RJ-45) PATCH PANEL #
[11 empty] | PORT #: |  |  | I.CPP.CA04.'abcd3'.XX
|  |  | CAT 6, 4 PAIR | CB.U6.CA.05011 |  |  | (BLANK) |  | ER.CA04.00001 | -EQ.MT.05011 | 1
|  |  | CAT 6, 4 PAIR | CB.U6.CA.05012 |  |  | (BLANK) |  | ER.CA04.00001 | -EQ.MT.05011 | 2 | Below: Example of label on front of cPP
|  |  | CAT 6, 4 PAIR | CB.U6.CA.05013 |  |  | (BLANK) |  | ER.CA04.00001 | -EQ.MT.05011 | 3 | 05011 | 05012 | 05013 | 05014 | 05015 | 05016
|  |  | CAT 6, 4 PAIR | CB.U6.CA.05014 |  |  | (BLANK) |  | ER.CA04.00001 | -EQ.MT.05011 | 4 | MT-01 Typical Tenant
|  |  | CAT 6, 4 PAIR | CB.U6.CA.05015 |  |  | (BLANK) |  | ER.CA04.00001 | -EQ.MT.05011 | 5
|  |  | CAT 6, 4 PAIR | CB.U6.CA.05016 |  |  | (BLANK) |  | ER.CA04.00001 | -EQ.MT.05011 | 6
110 PUNCH-DOWN BLOCK LABEL: | I.CPB.MT.05011.20 | [9 empty] | 110 PUNCH-DOWN BLOCK #:
CKT #'S:
|  |  | CAT 5, 25 PAIR | CB.U5.CA.05011 |  |  | (BLANK) |  | ER.CA04.00001 | -EQ.MT.05011 | (1-25)X |  |  | I.CPB.CA04.'abcde'.XX
RACK #:
abcd1
FIBER OPTIC PATCH PANEL LABEL: | I.FPP.MT.05011.10 | [9 empty] | FIBER OPTIC PATCH PANEL #:
I.FPP.CA04.'abcd1'.XX
PORT #:
|  |  | SINGLEMODE FIBER | FB.SM.CA.05011 |  |  | (BLANK) |  | ER.CA04.00001 | -EQ.MT.05011 | 1
|  |  | OPTIC, 6 STRAND | [7 empty] | 2 | Below: Example of label Inside front FOPP door
[11 empty] | 3 | 1 | thru | 6 | FB.SM.CA.05011
[11 empty] | 4 |  | MT-01 Typical Tenant
5
6
PORT #:
|  |  | MULTIMODE FIBER | FB.M6.CA.05011 |  |  | (BLANK) |  | ER.CA04.00001 | -EQ.MT.05011 | 7
|  |  | OPTIC, 6 STRAND | [7 empty] | 8 | Below: Example of label Inside front FOPP door
|  |  | 62.5 MICRON | [7 empty] | 9 | 7 | thru | 12 | FB.M6.CA.05011
[11 empty] | 10 |  | MT-01 Typical Tenant
11
12
NOTES:
1.) 'abcde' = Rack or Wall Field ID. 'a' = last digit of Comm. Room ID; 'e' = rack #
2.) 'XX' = Rack mounting hieght location ID
** Coordinate with POS (Mike Schuman or Babu Parayil) for communication room rack layout and location. **

## POS room Names
POS Communications Room Names
CMS Space ID (Alt Name) | Comment | Fac. Code | Fac.Code Descr | Level Code | Level Code Descr
ER.AD03.00001 (#387) | Wang Room | AD | Old Admin Bldg. | 03 | Third Floor
ER.AD03.00002 (#327) | PDOC Comm Room | AD | Old Admin Bldg. | 03 | Third Floor
ER.AD04.00001 (#426A) | PDOC Comm Room# 426A | AD | Old Admin Bldg. | 04 | Fourth Floor
ER.AD08.00001 | Ramp Tower 8th Floor Junction Room | AD | Old Admin Bldg./Tower | 08 | Eighth Floor
ER.CA01.00001 (MER-VD) | Voice / Data | CA | Concourse A - C4 area | 01 | STS Level
ER.CA01.00002 (MER-ES) | Electronic Systems | CA | Concourse A - C4 area | 01 | STS Level
ER.CA01.00004 (PS) | Primary Server | CA | Concourse A - C4 area | 01 | STS Level
ER.CA01.00005 (BS) | Backup Server | CA | Concourse A - C4 area | 01 | STS Level
ER.CA01.00006 (911 ER) | Equipment Room | CA | Concourse A - C4 area | 01 | STS Level
ER.CA01.00007 (ACC ER) |  | CA | Concourse A - C4 area | 01 | STS Level
ER.CA01.00008 (ST) | Security-Techical | CA | Concourse A - C4 area | 01 | STS Level
ER.CA01.00009 (TW) | Electronics Tech. Workshop | CA | Concourse A - C4 area | 01 | STS Level
ER.CA03.00004 (IC-4) |  | CA | Concourse A | 03 | Baggage Claim
ER.CA03.00005 (IC-5) |  | CA | Concourse A | 03 | Baggage Claim
ER.CA03.00006 (IC-6) |  | CA | Concourse A | 03 | Baggage Claim
ER.CA03.00007 (IC-7) |  | CA | Concourse A | 03 | Baggage Claim
ER.CA03.00008 (IC-8) |  | CA | Concourse A | 03 | Baggage Claim
ER.CA03.00011 | Cingular RHG-20 & 24 (not a real comm. room) | CA | Concourse A | 03 | Baggage Claim
ER.CA04.00001 (IC-1) |  | CA | Concourse A | 04 | Ramp (Bridge)
ER.CA04.00002 (IC-2) |  | CA | Concourse A | 04 | Ramp (Bridge)
ER.CA04.00003 (IC-3) |  | CA | Concourse A | 04 | Ramp (Bridge)
ER.CA04.00010 | Search Room | CA | Concourse A | 04 | Ramp (Bridge)
ER.CA05.00010 | Baggage Monitor Room | CA | Concourse A | 05 | Ramp (Bridge)
ER.CB01.00001 | Door #B1106TR - RHG 14 | CB | Concourse B | 01 | Transit (STS)
ER.CB03.00001 (TC-B-1-R) |  | CB | Concourse B | 03 | Ramp
ER.CB03.00002 (TC-B-2-R) |  | CB | Concourse B | 03 | Ramp
ER.CB03.00003 (TC-B-3-R) |  | CB | Concourse B | 03 | Ramp
ER.CB03.00004 (SAC-B-1-R) |  | CB | Concourse B | 03 | Ramp
ER.CB03.00005 (SAC-B-2-R) |  | CB | Concourse B | 03 | Ramp
ER.CB07.00001 | Sound Room# B-7081-P | CB | Concourse B | 07 | Penthouse
ER.CC02.00001 (C102) |  | CC | Concourse C | 02 | Second Floor
ER.CC03.00001 (TC-C-1-R) |  | CC | Concourse C | 03 | Ramp
ER.CC03.00002 (TC-C-2-R) |  | CC | Concourse C | 03 | Ramp
ER.CC03.00003 (TC-C-3-R) |  | CC | Concourse C | 03 | Ramp
ER.CC03.00004 (SAC-C-1-R) |  | CC | Concourse C | 03 | Ramp
ER.CC03.00005 (SAC-C-2-R) |  | CC | Concourse C | 03 | Ramp
ER.CC05.00001 (C315) |  | CC | Concourse C | 05 | Fifth Floor
ER.CC06.00001 (TC-C-4-M) |  | CC | Concourse C | 06 | Mechanical Penthouse
ER.CC07.00001 | Sound Room #C-7041-P | CC | Concourse C | 07 | Penthouse
ER.CD03.00001 (TC-D-1-R) |  | CD | Concourse D | 03 | Ramp
ER.CD03.00002 (TC-D-2-R) |  | CD | Concourse D | 03 | Ramp
ER.CD03.00003 (TC-D-3-R) |  | CD | Concourse D | 03 | Ramp
ER.CD03.00004 (TC-D-4-R) |  | CD | Concourse D | 03 | Ramp
ER.CD03.00005 (SAC-D-1-R) |  | CD | Concourse D | 03 | Ramp
ER.CD07.00001 | Sound Room# D-7019-P | CD | Concourse D | 07 | Penthouse
ER.CT01.00001 (TC-BN) |  | CT | Central Terminal | 01 | Transit (STS)
ER.CT04.00001 (TC-RN) |  | CT | Central Terminal | 04 | Bridge (Ramp)
ER.CT04.00002 (TC-RS) |  | CT | Central Terminal | 04 | Bridge (Ramp)
ER.CT06.00001 (TC-2N) |  | CT | Central Terminal | 06 | Mezzanine
ER.CT06.00002 (TC-2S) |  | CT | Central Terminal | 06 | Mezzanine
ER.MT01.00002 (SAC-MT-1-TR) |  | MT | Main Terminal | 01 | Transit (STS)
ER.MT01.00003 (SAC-MT-4-TR) |  | MT | Main Terminal | 01 | Transit (STS)
ER.MT01.00004 (CER) |  | MT | Main Terminal | 01 | Transit (STS)
ER.MT04.00001 (TC-MT-1-BR) |  | MT | Main Terminal | 04 | Bridge
ER.MT04.00002 (TC-MT-2-BR) |  | MT | Main Terminal | 04 | Bridge
ER.MT04.00003 (TC-MT-3-BR) |  | MT | Main Terminal | 04 | Bridge
ER.MT04.00004 (TC-MT-4-BR) |  | MT | Main Terminal | 04 | Bridge
ER.MT04.00005 (SAC-MT-5-G) |  | MT | Main Terminal | 04 | Bridge
ER.MT04.00006 (SAC-MT-6-G) |  | MT | Main Terminal | 04 | Bridge
ER.MT06.00001 (TC-MT-1-M) |  | MT | Main Terminal | 06 | Mezzanine
ER.MT06.00002 (TC-MT-2-M) |  | MT | Main Terminal | 06 | Mezzanine
ER.MT06.00003 (TC-MT-3-M) |  | MT | Main Terminal | 06 | Mezzanine
ER.MT06.00004 (TC-MT-4-M) |  | MT | Main Terminal | 06 | Mezzanine
ER.MT07.00001 | Radio Penthouse | MT | Main Terminal | 07 | Penthouse
ER.NS03.00001 (TC-NS-1-R) |  | NS | North Satellite | 03 | Ramp
ER.NS03.00002 (TC-NS-2-R) |  | NS | North Satellite | 03 | Ramp
ER.NS03.00003 (SAC-NS-1-R) |  | NS | North Satellite | 03 | Ramp
ER.NZ02.00001 (TC-PT2-NT) |  | NZ | North Toll Plaza | 02 | Floor 2
ER.OT06.00001 (IC-AV) |  | ER | Office Tower | 06 | Mezzanine
ER.OT07.00001 (IC-T1) |  | ER | Office Tower | 07 | Office Level 1
ER.OT07.00002 (IC-NOC) |  | ER | Office Tower | 07 | Office Level 1
ER.OT08.00001 (IC-T2) |  | ER | Office Tower | 08 | Office Level 2
ER.OT09.00001 (IC-T3) |  | ER | Office Tower | 09 | Office Level 3
ER.OT10.00001 (IC-T4) |  | ER | Office Tower | 10 | Office Level 4
ER.OT11.00001 (IC-T5) |  | ER | Office Tower | 11 | Office Level 5
ER.OT12.00001 (IC-RF) |  | ER | Office Tower | 12 | Penthouse
ER.PT04.00001 (old ACC) |  | PT | Parking Terminal | 04 | Fourth Floor
ER.PT09.00001 | AT&T Base Station Hotel | PT | Parking Terminal | 09 | North Elevator Penthouse
ER.SS00.00001 (TC-SS-1-BS) |  | SS | South Satellite | 00 | Tunnel (Basement)
ER.SS01.00001 (ER-CUTE) |  | SS | South Satellite | 01 | Transit (STS)
ER.SS02.00001 (TC-SS-2-M) |  | SS | South Satellite | 02 | Mezzanine (FIS)
ER.SS03.00001 (TC-SS-3-R) |  | SS | South Satellite | 03 | Ramp
ER.SS03.00002 (TC-SS-4-R) |  | SS | South Satellite | 03 | Ramp
ER.SS03.00003 (SAC-SS-1-R) |  | SS | South Satellite | 03 | Ramp
MD.AD00.00004 (MDR-4 / MTR) |  | AD | Admin Building | 00 | Ground
MD.CA01.00003 (MDR-3) |  | CA | Concourse A | 01 | Transit (STS)
MD.MT01.00002 (MDR-2) |  | MT | Main Terminal | 01 | Transit (STS)
MD.MT04.00001 (MDR-1) |  | MT | Main Terminal | 04 | Bridge
ER.RC01.00001 |  | RC | Rental Car Facility | 01 | Second Floor
ER.RC02.00001 |  | RC | Rental Car Facility | 02 | Second Floor
ER.RC03.00001 |  | RC | Rental Car Facility | 03 | Second Floor
ER.RC04.00001 |  | RC | Rental Car Facility | 04 | Second Floor
ER.RC05.00001 |  | RC | Rental Car Facility | 05 | Second Floor
ER.RC01.00002 |  | RC | Rental Car Facility | 01 | Second Floor
ER.RC02.00002 |  | RC | Rental Car Facility | 02 | Second Floor
ER.RC03.00002 |  | RC | Rental Car Facility | 03 | Second Floor
ER.RC04.00002 |  | RC | Rental Car Facility | 04 | Second Floor
ER.RC05.00002 |  | RC | Rental Car Facility | 05 | Second Floor
ER.RC01.00003 |  | RC | Rental Car Facility | 01 | Second Floor
ER.RC04.00003 |  | RC | Rental Car Facility | 04 | Second Floor
TC.PT02.00001 (TC-PT1-F2) |  | PT | Parking Terminal | 02 | Second Floor
do not know; require START direction
Click here to select..

## dropdowndata
Click here to select..
Yes
No
Click here to select..
New
Existing
Click here to select..
Port of Seattle (typical)
Other (describe space)
Click here to select..
New
Existing
Conduit
Inner-duct
Click here to select..
Port of Seattle
Tenant (describe pathway)
Click here to select..
New
Existing
Click here to select..
Port of Seattle
Tenant (Room No.)
Click here to select..
Port of Seattle
Other (describe)
Click here to select..
Approved
Approved as noted (see below)
Revise & Resubmit